## Slide 1: AHF/SVG Application in Oil and Gas Industry

## Slide 2
Drilling Rig Sketch
1.Mud tank
2.Shale shakers
3.Suction line
4.Mud pump
5.Power source
6.Vibrating hose
7.Draw-works
8.Standpipe
9.Kelly hose
10.Goose-neck
11.Traveling block
12.Drill line
13. Crown block
14.Derrick
15.Monkey board
16.Stand
17.Pipe rack
18.Swivel
19.Kelly drive
20.Rotary table
21.Drill floor
22.Bell nipple
23.Blowout preventer
24.Blowout preventers
25.Drill string
26.Drill bit
27.Casing head
28.Flow line

## Slide 3
Single Line Diagram
Main loads:
Mud pumps
Draw works
Top drive
Motors

## Slide 4
Oil and Gas in Canada
On Land：
Western Canadian Sedimentary Basin
Offshore：
Newfoundland and Labrador

## Slide 5: Loads at Site
Mud Pump
Top Drive
Draw Works

## Slide 6: Unhealthy Power Quality Brings Hazard
High cost

## Slide 7: Unhealthy Power Quality Brings Hazard
Equipment damage

## Slide 8: Unhealthy Power Quality Brings Hazard
Delayed schedule

## Slide 9: Unhealthy Power Quality Brings Hazard
Communication interference

## Slide 10: Unhealthy Power Quality Brings Hazard
Fire disaster

## Slide 11
On Land Rigs
IEEE 519-2014
IEC 6000-2-2
IEC 6000-2-4

## Slide 12
Offshore Drillings
Marine Classification Society | Total harmonic distortion | Single Harmonic
ABS | 8% | 5%
DNV | 8% | 5%
LR | 8% | 1.5%, order >25th

## Slide 13: Living examples that support validity of AHF/SVG

## Slide 14
Honghua Oil Drilling

## Slide 15
Honghua Oil Drilling
Current waveform before compensation
Current waveform after compensation

## Slide 16
Honghua Oil Drilling
Power factor
THDi
AHF ON
AHF ON
AHF OFF
AHF OFF

## Slide 17
Southwest Bureau Of Sinopec

## Slide 18
5th harmonic before compensation
5th harmonic after compensation
Southwest Bureau Of Sinopec

## Slide 19
7th harmonic before compensation
7th harmonic after compensation
Southwest Bureau Of Sinopec

## Slide 20
11th harmonic before compensation
11th harmonic after compensation
Southwest Bureau Of Sinopec